|  |  |  | # NM-AA750-24 ###### Specification Cooling Capacity 750 BTU/Hr Input Power 24 VDC Current 8.5 A Weight 8.2 Kg (18.2 lbs) Max Operating Temp. 60 Degree C ###### Reliability Data MTBF of TE modules 200,000 Hrs MTBF of Cooling Fans 50,000 Hrs |
| --- | --- | --- | --- |
| # Model Number Nomenclature NM – A A 750 - 24 DC Voltage (V) Capacity (BTU/Hr) Ambient Side - Air Cabinet Side - Air Generic |  |  |  |
|  |  |  | ### Performance Curve |
| Power Connector |  |  |  |
|  |  | ## Installation Cutout mm (inch) |  |
|  | Position Description 1 TEC + 2 TEC - 3 TEC + 4 TEC - 5 TEC + 6 TEC - 7 FAN + 8 FAN - |  |  |
| #### Dimensional Drawing mm(inch) |  |  |  |